| Diameter | Ambient temp. * | Temp. of 1x G12 after 30 min. of heating measured on the floor |
| --- | --- | --- |
| 2m | 17°C | 33°C |
| 4m | 17°C | 26°C |
| 6m | 17°C | 23°C |
| 8m | 17°C | 21°C |
| 10m | 17°C | 21°C |
| 12m | 17°C | 21°C |
| 14m | 18°C | 21°C |

# Text boxes

2m

4m

6m

8m

10m

12m

14m

Ambient temperature of 17°C

GASOLEC G12

INFRARED HEATING PATTERN

* Note: The ambient temperature is kept as constant as possible just to show the impact of the infrared heat of the G12 heater on the floor. In a normal situation the ambient temperature in the house also increases.